## Sheet1
QUOTE GENERATOR DECADE for every Third Party HPLC |  | Quote guide version | 2026-04
Step 1 | Choose the detection mode or application. Check the application note in case of any doubt.
Step 2 | Choose the option for data acquisition
Step 3 | Choose additional parts if required: nitrogen device, Post column pump, Bottles
Configuration DC mode | part no | Price in Euro |  |  | DC = constant voltage (almost all applications except Carbohydrates/Aminoglycosides).
DECADE Elite SCC white | 176.0035B | 12982
Detector installation kit | 190.0150D | 540
Remote assisted DECADE Installation (incl. IQ-OQ) and training | 901.1035R | 2602 | no discount
Flowcell options: |  |  |  |  | These two options cover 95% of all applications in DC mode
SenCell 2 mm GC sb | 116.4120 | 5080 |  |  | The "sb" stands for Saltbridge. This is the "good old" traditional Ag/AgCl reference electrode
SenCell 2 mm GC ISAAC | 116.4220 | 5080 |  |  | The"ISAAC" stands for is-situ Ag/AgCl and needs less frequent maintenance compared to "sb".
Configuration PAD mode HPAEC Carbo | part no | Price in Euro |  |  | PAD (pulsed amperometric detection) Requires nitrogen sparging or blanketing (no contact of the mobile phase with CO2 from the air)
DECADE Elite SCC white | 176.0035B | 12982
Detector installation kit | 190.0150D | 540
Remote assisted DECADE Installation (incl. IQ-OQ) and training | 901.1035R | 2602 | no discount
Flowcell option: |  |  |  |  | These two options cover all applications in PAD mode
Flexcell Au HyREF | 102.4325 | 5649 |  |  | 3-step PAD
flattening/polishing kit for metal WE | 250.1045 | 298
or
SenCell 2 mm Au HyREF | 116.4321 | 5210 |  |  | 4-step PAD
Configuration PAD mode (Aminoglycosides) USP/EP | part no | Price in Euro |  |  | PAD (pulsed amperometric detection) Requires nitrogen sparging or blanketing (no contact of the mobile phase with CO2 from the air)
DECADE Elite SCC white | 176.0035B | 12982 |  |  | Aminoglycosides require post column addition of NaOH with an additional isocratic pump
Detector installation kit | 190.0150D | 540
Remote assisted DECADE Installation (incl. IQ-OQ) and training | 901.1035R | 2602 | no discount
Post column mixer assembly, 375 µL | 180.0220B | 347 |  |  | Kit to connect the post column Isocratic pump
Flowcell option:
Flexcell Au HyREF | 102.4325 | 5649 |  |  | 3-step PAD; cell for USP/EP method of Aminoglycosides
flattening/polishing kit for metal WE | 250.1045 | 298
Optional for Post Column addition pump
Pulse damper, PEEK, max 200 bar | 250.AZZ10NB | 1102
Configuration Azithromycin DCC (USP) | part no | Price in Euro |  |  | DCC = dual cell
DECADE Elite DCC white | 176.0035DB | 16608
Detector installation kit | 190.0150D | 540
Remote assisted DECADE Installation (incl. IQ-OQ) and training | 901.1035R | 2602 | no discount
Flowcells
First cell: Flexcell GC HyREF | 102.4305 | 4948
Second cell: SenCell 2 mm GC sb | 116.4120 | 5080
Data Acquisition * | part no | Price in Euro
ECD driver for OpenLAB CDS & Chemstation | 176.0100 | 1918 | no discount
ECD driver for Chromeleon CDS | 176.0105 | 1918 | no discount
ECD Driver for Empower CDS | 176.0110 | 1918 | no discount
DECADE Elite SCC output cable D9 - Shimadzu ADC | 250.0128U | 118.4 | to connect the ECD to an AD convertor of Shimadzu |  |  | see KB paper
DECADE Elite DCC output cable D9 - Shimadzu ADC | 250.0128UD | 219 | to connect the ECD to an AD convertor of Shimadzu
* All DECADE Elite ECD's are delivered with a universal output cable for connection to a third party AD convertor (for use with CDS software not listed above).
nitrogen sparging or blanketing (no contact of the mobile phase with CO2 from the air)
| part no | Price in Euro | Fill in |  | Check the number of bottles!
ET 210 eluent tray, nitrogen | 192.0050 | 3772
PPCO bottle assembly, 2L, inert gas + filter | 184.0212 | 420 | 0 | x | Number and type of bottles depends on the application method. Select from 'bottle requirements' table below
Glass bottle assembly, 1L, inert gas + filter | 184.0220 | 358 | 0 | x | Needed for aminoglycosides with low pH separation (c18). Number of bottles depends on application, select from 'bottle requirements' table below
HDPE piston wash bottle, 250 mL | 184.0203D | 26.8
Waste container, 10L | 184.0206 | 381
Degasser inlet assembly, HPAEC + filter | 180.0204D | 133.9 | 0 | x | Quantity should be equal to the total quantity of bottle assemblies, nitrogen (automatically calculated)
Bottle assembly nitrogen requirement
Application | 184.0212 PPCO bottle kit | 184.0220 Glass bottle kit
Carbohydrates isocratic | 1
Carbohydrates step gradient | 2
Carbohydrates quaternary gradient | 4
Gentamicin USP | 1 | 1
Aminoglycosides EP | 1 | 1 |  |  | Aminoglycosides EP: Neomycin, Framycetin, Gentamicin, Tobramycin, Netilmicin, Spectinomycin, Lincomycin
Amikacin EP | 1 | 2
Streptomycin USP | 2
Kanamycin/Amikacin USP | 1
Erythromycin | 1 | 1
Sulfamethoxazole and trimethoprim | 1
Heparin USP | 2
FDG USP EP | 1
Ethylene Glycol in Hydroxyethyl starch EP | 2 | 1